| Annotation to project work |  |
| --- | --- |
| Name of project work: “Use of Solar Energy for the Needs of Hot Water Supply at Jsc ‘Babushkina Krynka”- Managing Company of Holding “Mogilev Dairy Company “Babushkina Krynka” Mark with cross the thematic area and highlight the topic with blue colour: ( ) Building, for example, insulation, window replacement, construction of a new energy efficient building ( ) Electric energy, for example, lighting, compressed air, electric drives, refrigerating machines, load management ( ) Heat, for example, heating, industrial heat, heat return, ventilation / air conditioning technology, cogeneration (Х) Renewable sources of energy, for example, solar technology, wood energy, biogas, geothermal energy ( ) Management, for example, energy purchase, contracting, emission trading, energy resources data management system |  |
| Company: Jsc ‘Babushkina Krynka”- Managing Company of Holding “Mogilev Dairy Company “Babushkina Krynka” Industrial sector: food industry Products/services: dairy products Number of staff: 1100 Name and surname of the author of the project: Denis Izoh Participant of EUREM courses №: 1 Contact information: +375 29 852 88 55 izoxdenisalex@gmail.com. |
| Description of the project: The use of solar energy to generate thermal energy for the needs of hot water supply instead of the heat supplied from the enterprise boiler-house. |  |
| Results: |  |
| Energy safety potential (kWh / year): 802.000 Energy material: hot water Costs saving potential (euro/year): 13.969 potential for СО2 emission reduction (tonne/year): 186 t. | Investment costs (euro): 99.946 Payback period (years): 7,2 Probability of implementation: ( ) high ( ) medium (Х) low |